# Gunther Weiss Scientific Glassblowing Co., Inc.

# providing solutions for Lacrimal Bypass Surgery (CDCR) since 1963

2023 Product Catalog

LOCATION:

5295 NE Elam Young Parkway

Suite 140

Hillsboro, OR 97124                           FDA: Registration #3005489143

EMAIL: info@guntherweiss.com          FDA: Product Codes “HMX” and “HNL”

WEB: www.guntherweiss.com	             FDA: Regulation #886.4350

PHONE: 503-644-4056                    ISO 9001:2015 AGS-US111219-1

FAX: 503-644-0975

# cONTENTS

Title Page………………………………1

Contents………………………………...2

Part Number Guide…………………….3

2023 Pricing Guide………………….4-5

10000 Jones Tube…………………...6-7

20000 JT Gladstone-Putterman………..8

50000 JT Callahan-Cox……………….9

60000 Specialty Jones Tubes…….10-12

70000 Jones Tube Sets…………...13-14

80000 Weiss Glass Cannulas ………....15

90000 Accessories………………..16-17

How to Measure a Jones Tube………..18

Terms and Conditions…………………19

# Part number guide

X     X     X     X     X     -     [X X]  [X X]

Additional Feature

Overall Length

Flange Diameter

Family

Suture

Hole

Angle

Frosted

EXAMPLES:

- 10000 - 3512 Jones Tube Standard 3.5x12mm

- 10110 - 4020 Jones Tube Frosted with Angle 4.0x20mm

- 11000 - 4532 Jones Tube with Suture Hole 4.5x32mm

# 2023 pricing guide

| Jones Tube Standard………………………………………… Jones Tube no Bevel ………………………………………… Jones Tube with Angle …………………………………….. Jones Tube Frosted ………………………………………….. Jones Tube Frosted with Angle ………………………… Jones Tube with Suture Hole ……………………………. Jones Tube with Suture Hole, Angled ………………. Jones Tube Frosted with Suture Hole ………………. Jones Tube Frosted with Suture Hole, Angled.………. Jones Tube 130 Degree Angle ………………………….. Jones Tube 130 Degree Angle with Suture Hole.. Jones Tube 130 Degree Angle Frosted………………. Jones Tube 130 Degree Angle Frosted with………. Suture Hole JT Gladstone-Putterman ………………………………………. JT Gladstone-Putterman with Angle …………………….. JT Gladstone-Putterman Frosted ………………………….. JT Gladstone-Putterman Frosted with Angle ………… JT Gladstone-Putterman with Suture Hole……………. JT Gladstone-Putterman with Suture Hole, Angled.. JT Gladstone-Putterman Frosted with Suture Hole.. JT Gladstone-Putterman Frosted with Suture……….. Hole, Angled JT Callahan-Cox ………..……………………………………… JT Callahan-Cox Frosted …..………………………………. JT Callahan-Cox with Suture Hole …………………….. JT Callahan-Cox Frosted with Suture Hole ……….. Jones Tube Double Flange ……………………………….. Jones Tube Double Flange with Suture Hole…………. Jones Tube Double Flange Frosted……………………. Jones Tube Double Flange Frosted with Suture… Hole Jones Tube for CPAP…………………………………………. Jones Tube for Reduced Flow…………………………… Standard Set Jones Tubes ………………………………… Custom Set Jones Tubes…………………………………… Assorted Set Jones Tubes ………………………………… Special Set Jones Tubes …………………………………… For additional styles of sets, see pages 11-12 Weiss Glass Cannula STRAIKO …………………………. Weiss Glass Cannula LWVI ……………………………… Weiss Glass Cannula MIS…..……………………………… Jones Gold Dilator #1 (1.7&1.9mm Arms)…….…… Jones Gold Dilator #2 (2.2&2.4mm Arms)…….…… Jones Gold Dilator #3 (2.7&2.9mm Arms)…………. Jones Tube Sterilization Tray (Blue Anodized) ….. Jones Tube Measuring Scale……………………………… | 10000-XXXX = $52.00 10001-XXXX = $50.00 10010-XXXX = $58.00 10100-XXXX = $86.00 10110-XXXX = $90.00 11000-XXXX = $72.00 11010-XXXX = $78.00 11100-XXXX = $103.00 11110-XXXX =$110.00 10002-XXXX = $66.00 11002-XXXX = $88.00 10102-XXXX = $98.00 11102-XXXX =$106.00 20000-XXXX = $80.00 20010-XXXX = $85.00 20100-XXXX = $113.00 20110-XXXX = $117.00 21000-XXXX = $100.00 21010-XXXX = $106.00 21100-XXXX = $132.00 21110-XXXX = $137.00 50000-XXXX = $58.00 50100-XXXX = $88.00 51000-XXXX = $77.00 51100-XXXX = $110.00 60000-XXXX = $103.00 61000-XXXX = $113.00 60100-XXXX = $126.00 61100-XXXX = $130.00 60001-XXXX =$115.00 60002-XXXX =$110.00 70002-0000 = $754.00 70002-0001 = $754.00 70003-0000 = $708.00 70004-0000 = $798.00 80000-STRAIKO = $110 80000-LWVI = $175.00 80000-MIS = $180.00 90000-0001 = $67.00 90000-0002 = $67.00 90000-0003 = $73.00 90000-0005 = $499.00 90000-0007 = $61.50 |
| --- | --- |

# 10000- jONES tUBE (jt)

JT Standard

10000-XXXX

$52.00

JT Frosted

10100-XXXX

$86.00

EXAMPLES:

- 10000-3512 Jones Tube 3.5x12mm

- 10110-4020 Jones Tube Frosted with Angle 4.0x20mm

- 11000-4532 Jones Tube with Suture Hole 4.5x32mm

JT with

Suture Hole

11000-XXXX

$72.00

JT Frosted with Angle

10110-XXXX

$90.00

JT with Angle

10010-XXXX

$58.00

JT no Bevel

10001-XXXX

$50.00

Flange Sizes:

3.0mm, 3.5mm, 4.0mm

4.5mm, 5.0mm, 5.5mm

Overall Length:

9.0mm-40.0mm

*additional sizes are available upon request

# 10000- jONES tUBE (jt)

JT Frosted with Suture Hole

11100-XXXX

$103.00

JT Frosted with Suture Hole, Angled

11110-XXXX

$110.00

EXAMPLES:

- 10002-4024 Jones Tube 130 Degree Angle 4.0x24mm

- 11002-3528 Jones Tube 130 Degree Angle with Suture Hole 3.5x28mm

- 11100-3012 Jones Tube Frosted with Suture Hole 3.0x12mm

JT with Suture Hole, Angled

11010-XXXX

$78.00

JT 130 Degree Angle

10002-XXXX

$66.00

JT 130 Degree Angle Frosted 10102-XXXX

$98.00

JT 130 Degree Angle with Suture Hole

11002-XXXX

$88.00

JT 130 Degree Angle Frosted with Suture Hole

11102-XXXX

$106.00

Flange Sizes:

3.0mm, 3.5mm, 4.0mm

4.5mm, 5.0mm, 5.5mm

Overall Length:

9.0mm-40.0mm

*additional sizes are available upon request

# 20000- JT Gladstone- putterman

JT Gladstone- Putterman

20000-XXXX

$80.00

JT Gladstone- Putterman Frosted with Angle

20110-XXXX

$117.00

JT Gladstone- Putterman Frosted with Suture Hole

21100-XXXX

$132.00

JT Gladstone- Putterman with Angle

20010-XXXX

$85.00

JT Gladstone- Putterman with Suture Hole

21000-XXXX

$100.00

JT Gladstone-

Putterman Frosted with Suture Hole, Angled

21110-XXXX

$137.00

JT Gladstone- Putterman Frosted

20100-XXXX

$113.00

JT Gladstone- Putterman with Suture Hole, Angled

21010-XXXX

$106.00

Flange Sizes:

3.0mm, 3.5mm, 4.0mm

4.5mm, 5.0mm, 5.5mm

Overall Length:

9.0mm-40.0mm

*additional sizes are available upon request

EXAMPLES:

- 20000-3521 JT Gladstone-Putterman 3.5x21mm

- 21000-4012 JT Gladstone-Putterman with Suture Hole 4.0x12mm

*The Gladstone Putterman Jones Tubes are available in a larger overall size

(3mm tubing instead of 2.2mm tubing) Please call for part number and pricing

# 50000- JT Callahan- Cox tUBEs

JT Callahan-Cox

50000-XXXX

$58.00

JT Callahan-Cox Frosted

50100-XXXX

$88.00

JT Callahan-Cox

with Suture Hole

51000-XXXX

$77.00

JT Callahan-Cox Frosted

with Suture Hole

51100-XXXX

$110.00

Flange Sizes:

4.0 mm, 4.5mm, 5.0mm, 5.5mm

Overall Length:

9.0mm-40.0mm

*additional sizes are available upon request

EXAMPLES:

- 50000-4518 JT Callahan-Cox 4.5x18mm

- 51000-4012 JT Callahan-Cox with Suture Hole 4.0x12mm

- 51100-5520 JT Callahan-Cox Frosted with Suture Hole 5.5x20mm

*The Callahan-Cox Jones Tubes are made with larger tubing

(3.0mm tubing instead of 2.2mm)

# 60000- Specialty Jones tubes

Jones Tube Double Flange

60000-XXXX

$103.00

Jones Tube Double Flange Frosted

60100-XXXX

$126.00

Jones Tube Double Flange

with Suture Hole

61000-XXXX

$113.00

Jones Tube Double Flange Frosted with Suture Hole

61100-XXXX

$130.00

Flange Sizes:

3.0mm, 3.5mm, 4.0mm, 4.5mm

Overall Length:

9.0mm-40.0mm

*additional sizes are available upon request

EXAMPLES:

- 60000-4018 Jones Tube Double Flange 4.0x18mm

- 61000-3012 Jones Tube Double Flange Frosted 3.0x12mm

# 60000- Specialty Jones tubes Cont.

Jones Tube for CPAP

60001-XXXX

$115.00

Jones Tube for CPAP Frosted

60101-XXXX

$125.00

Jones Tube for CPAP with Suture Hole

61001-XXXX

$120.00

Jones Tube for CPAP Angled

60011-XXXX

$130.00

Flange Sizes:

3.0mm, 3.5mm, 4.0mm, 4.5mm

Overall Length:

9.0mm-40.0mm

*additional sizes are available upon request

EXAMPLES:

- All CPAP tubes can have combined attributes

- 60001-4017 Jones Tube for CPAP 4.0x17mm

- 61001-3511 Jones Tube for CPAP Frosted 3.5x11mm

# 60000- Specialty Jones tubes Cont.

Jones Tube for Reduced Flow

60002-XXXX

$110.00

Jones Tube for Reduced Flow with Suture Hole

61002-XXXX

$115.00

Jones Tube for Reduced Flow with Angle

60012-XXXX

$116.00

Jones Tube for Reduced Flow Frosted

60102-XXXX

$125.00

Flange Sizes:

3.0mm, 3.5mm, 4.0mm, 4.5mm

Overall Length:

9.0mm-40.0mm

*additional sizes are available upon request

EXAMPLES:

- All reduced flow tubes can have combined attributes

- 61002-4520 Jones Tube for Reduced Flow with Suture Hole 4.5x20mm

- 61112-3512 Jones Tube for Reduced Flow Frosted, Angled and with Suture Hole 3.5x12

# 70000- Jones tUBE sets

Assorted Set

70003-0000

$708.00

Set includes the following parts:

- 1ea. 3.0x10mm

- 1ea. 3.0x12mm

- 1ea. 3.0x14mm

- 1ea. 3.0x16mm

- 1ea. 3.5x11mm

- 1ea. 3.5x13mm

- 1ea. 3.5x15mm

- 1ea. 3.5x17mm

- 1ea. 4.0x15mm

- 1ea. 3.5x14mm Angled

- 1ea. 3.5x15mm Angled

| Tube Style | Assorted Set | Standard Set |
| --- | --- | --- |
| Jones Tube Standard | 70003-0000 $708.00 | 70002-0000 $754.00 |
| Suture Hole | 71003-0000 $930.00 | 71002-0000 $990.00 |
| Frosted | 70103-0000 $1,114.00 | 70102-0000 $1,192.00 |
| Frosted with Suture Hole | 71103-0000 $1,358.00 | 71102-0000 $1,454.00 |

- 1ea. 4.0x14mm Angled

- 1ea. 4.0x15mm Angled

- 1ea. Gold Dilator #1

- 1ea. Gold Dilator #2

Standard Set

70002-0000

$754.00

Set includes the following parts:

- 2ea. 3.0x14mm

- 2ea. 3.5x12mm

- 2ea. 3.5x13mm

- 2ea. 3.5x14mm

- 2ea. 3.5x15mm

- 2ea. 4.0x15mm

- 1ea. 4.0x16mm

- 1ea. 4.0x18mm

- 1ea. Gold Dilator #1

- 1ea. Gold Dilator #2

70000- jones tube sets

Special Set

70004-0000

$798.00

Set includes the following parts:

- 1ea. 3.0x10mm

- 1ea. 3.0x11mm

- 1ea. 3.0x12mm

- 1ea. 3.0x13mm

- 1ea. 3.0x14mm

- 1ea. 3.0x15mm

- 1ea. 3.5x09mm

- 1ea. 3.5x11mm

- 1ea. 3.5x17mm

- 1ea. 3.5x18mm

- 1ea. 4.0x12mm

- 1ea. 4.0x13mm

- 1ea. 4.0x14mm

- 1ea. 4.0x17mm

- 1ea. 4.0x19mm

- 1ea. Gold Dilators #1 and #2

| Tube Style | Special Set | Custom Set |
| --- | --- | --- |
| Jones Tube Standard | 70004-0000 $798.00 | 70002-0001 $754.00 |
| Suture Hole | 71004-0000 $1,050.00 | 71002-0001 $990.00 |
| Frosted | 70104-0000 $1,268.00 | 70102-0001 $1,192.00 |
| Frosted with Suture Hole | 71104-0000 $1,550.00 | 71102-0001 $1,454.00 |

Custom Set

70002-0001

$754.00

Set includes the following parts:

- 14 tube sizes of your choice

- 1ea. Gold Dilator #1

- 1ea. Gold Dilator #2

# 80000- Weiss Glass Cannulas

Weiss Glass

Cannula- STRAIKO

80000-STRAIKO

$110.00

Weiss Glass

Cannula- LWVI

80000-LWVI

$175.00

Weiss Glass

Cannula- Miracles in Sight

80000-MIS

$180.00

# 90000 Accessories

Jones Gold Dilator #1

(1.7&1.9mm arms)

90000-0001

$67.00

Jones Tube Measuring Scale

90000-0007

$61.50

Jones Gold Dilator #2

(2.2&2.4mm arms)

90000-0002

$67.00

Jones Gold Dilator #3

(2.7&2.9mm arms)

90000-0003

$73.00

# 90000 Accessories

Jones Tube Sterilization Tray (Blue Anodized)

90000-0005

$499.00

Measuring Scale (reference only)

how to measure

a jones tube

There are two ways to measure the overall length of a Jones Tube:

Measuring an

Angled Jones Tube

- All Jones Tubes are measured with a caliper prior to shipping.

- When measuring a Jones Tube with angle the flange end is aligned flatly against one jaw of the caliper and the caliper is closed until it just touches the beveled end of the tube.

- The Jones Tube below is a 19mm Jones Tube with angle.

These three circular holes are used for reference to measure the top of the Jones Tube (flange). Calipers can also be used for sizes beyond this scale.

Using the Blue Anodized

Sterilization Tray or Measuring Scale

(90000-0005, 90000-0007)

- Always make sure that the flange end is touching the end of the measure scale marked with the zero.

- The beveled end of the tube should be rotated so that the very extreme beveled tip of the tube is aligned with the side of the scale that aligns best with the tip.

- The tolerance for the Jones Tube is +/- 0.3 MM.

- The Jones Tube in the photo below is 24mm

# Terms and Conditions

- Shipping:  FOB origin, typically UPS ground, unless otherwise specified within two weeks of order.  No shipments via US mail due to losses and an inability to track shipments.

- Payment terms:  Net 30, 1.5% per month over 30 days is prefered. We do accept VISA or MasterCard for a 3% processing fee.

- Overseas Payment terms:  All overseas orders will need to be paid in advance with a credit card.  No shipments will be sent until payment is received.

- Return policy:  Because we wish to ensure that our customers receive only newly manufactured Jones Tubes, we will not accept returns on these products.  If you find you have ordered incorrect product please refuse our delivery prior to receiving your order from our shipper and before opening the box. Otherwise, we are unable to accommodate returns.  Items other than Jones Tubes may be returned for credit if in new condition.

- Preferred carrier:  UPS

- Additional Charge:  Customers requesting special shipping instructions outside of Gunther Weiss Scientific’s “preferred carrier” shall be assessed an additional handling charge for their request.